## Slide 1: Methods for Logging Baleen Whales SWFSC
By Cory Hom-Weaver

## Slide 2: Step 1: Open Matlab and set the Path
Currently we are using Matlab 2021b
On the home tab Environment  Set Path
Click “Add folder with Subfolders…”
Browse to the folder containing Triton-R2020 (or the newest version of Triton on GitHub)
Click ‘Save’ and then ‘Close’

## Slide 3: Step 2: Open Triton
Start Matlab and at the command prompt type ‘triton’ and press enter to run the application
Three windows will be displayed:
Plot, Control, & Message…
Control Window – Controls settings for Plot Window.
-Plot Window Displays Long Term Spectral Average (LTSA), spectrogram, spectra and time series plots.
Message Window - Keeps a record of the users actions and displays Plot Window cursor location.

## Slide 4: Step 3: Add Logger remora
In the control window (upper left hand window) click on ‘Remoras’ then ‘Add Remora.”
Browse to the folder containing TritonRemorasLogger. Highlight this folder and click ‘Select Folder’
A new window pop up asking to restart Triton, click ‘Yes’
You will only need to add the Remora once. Triton should remember this once you have added it. It will prompt you to restart Triton at this time.

## Slide 5: Step 4: Open an LTSA
Click FileOpen LTSA
Browse to the LTSA you wish to use for your log (they may vary depending on the species you are logging)
When it opens the plot and control windows may look something like this

## Slide 6: Step 5: Set Parameters
If you are logging duty cycled data you will want to be looking at around 1 hour at a time. Set the plot length accordingly.
If you are logging continuous data then plot length should be 1
Make sure you start logging as close to the start of the hour as possible
Brightness should be from 0-10dB
Contrast should be around 100dB
Depending on the species you will want to adjust your upper frequency bounds.
  For blue and fin whales you can look at 0-150Hz

## Slide 7: Step 6: Create a new log
Click on Remoras Log  New Log
Enter in the name of the log and direct Triton to save it in the folder with the LTSA
Name your log with the Cruise_Year_Drift_#_Species_Log
  Ex: CCES_2018_Drift_07_BlueWhale_Log

## Slide 8: Step 7: Set the deployment metadata
Type your initials in the ‘User ID’ tab
Type the project name in the ‘Project’ tab
Type in the Drift number in “Deployment’ and ‘Site’ tabs
Then select your start time on the LTSA.
  Remember to make sure to start as close to the hour as possible
  Click ‘Set deployment metadata'

## Slide 9: Step 8: Setting up logging options
Check ‘All’ under the logging options
  You can double click the “All’ button to expand it and check off specific species if you want.
Under Granularity select ‘binned’
Under time in minutes type ‘60’
Click ‘Set Effort’
NOTE: Although your log is open in the background this does not mean you can make changes to your log while you currently have the logging window open. If you need to make a change to your spreadsheet you must end your logging session and then open the spreadsheet to make changes.

## Slide 10: Step 9: Scrolling and looking for calls
Use the arrows on the LTSA to scroll back and forward in time
Look for spikes of energy in the LTSA
  These are Blue whale D calls with low frequency noise

## Slide 11: Step 10: Zooming in on a sound
When you see a spike of energy that you want to investigate click on the ‘Expand’ button to open the associated wav file.
Then click on the part of the LTSA that you want to look at in more detail

## Slide 12: Step 11: Adjust parameters for the spectrogram
Set the plot length to 120 s. If it wont let you set it that high then use the back arrow to scroll to the beginning of the wav file
Set the Plot Freq End to 200 Hz. We are looking for calls generally below 100 Hz.
FFT will vary depending on the frequency range you are looking at. For blue and fin whales we will use 512
Set %Overlap to 90
Brightness should be between 0-10dB
Contrast should be around 100%dB

## Slide 13: Now you Triton windows should look something like this

## Slide 14: Step 12: Logging your first sound
Go through each hour of recordings and look for calls made by the species of interest (i.e. blue whale A, B and D calls)
We will be binning call types by the hour
When you find your first call we you click on the corresponding drop down for group and species
Then check off the first call of that type you have seen in that hour
Click on the call and then click on “pick start”
*In the comments please note the quality of the call (1-3) followed by the quality of the recordings (G or B). PLEASE SEPARATE USING A “,” (comma)
  1=low SNR (signal to noise ratio)
  2=medium SNR
  3=high SNR
  G=good and can use auto-detector
  B=bad and cannot use auto-detector
Click save image if you want to save the spectrogram.
Click log to save the information to the spreadsheet
  *See more on this on following slides

## Slide 15: What if you are unsure of the species or call type?
Listen to the sound. Does is sound like the call type you are logging?
Check in with Cory or Shannon. If they are busy or aren’t sure of the call type either then…
Save the image and audio
In the comments box type “poss call type” (ie poss B call) after the SNR of the call and the G/B recording. Separate these using a comma.
  Ie : 3, G, poss B call
  We will have to review these later

## Slide 16: Example of SNR 1 calls

## Slide 17: Example of SNR 2 calls

## Slide 18: Example of SNR 3 calls

## Slide 19: Example of B(bad) recordings

## Slide 20: Example of G(good)recordings